## Main Data
Default Storage Ring Refill Time |  |  | 0.25 | [16 empty] | Refill Timing in Days | 0.010417
Downtime for Run 2007-3
Fill # | Start | End | Length | Loss Reason | DIN # | Audit | Start | End | User Length | System Length | Cause | System | Group | Type | Description | Store Lost | Intention. Dump | Inhibits Beam | TOTAL
1 | 2007-10-02 08:00 | 2007-10-08 07:44 | 143.7333 | S6B:Q2 P.S. Problem [PS] | 105311 |  | 2007-10-08 07:44 | 2007-10-08 08:41 | 0.95 | 0.95 | PS | PS | PS | Store Lost | Replaced relay in raw PS, refill | 1 |  |  | 1
2 | 2007-10-08 08:41 | 2007-10-09 08:00 | 23.3167 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 167.05 | [5 empty] | 0.95 | 0.95 | [8 empty] | 0
3 | 2007-10-10 08:00 | 2007-10-10 10:05 | 2.0833 | RF4 Ion Gauge trip [RF] | 105312 |  | 2007-10-10 10:05 | 2007-10-10 10:24 | 0.31667 | 0.31667 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
4 | 2007-10-10 10:24 | 2007-10-14 18:33 | 104.15 | CPU V Coil Failure [PS] | 105314 |  | 2007-10-14 18:33 | 2007-10-14 18:55 | 0.36667 | 0.36667 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
5 | 2007-10-14 18:55 | 2007-10-14 22:11 | 3.2667 | Human error [OA] | 105316 |  | 2007-10-14 22:11 | 2007-10-14 22:38 | 0.45 | 0.45 | OA | OA | OA | Store Lost |  | 1 |  |  | 1
6 | 2007-10-14 22:38 | 2007-10-16 08:00 | 33.3667 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 142.8667 | [5 empty] | 1.1333 | 1.1333 | [8 empty] | 0
7 | 2007-10-17 08:00 | 2007-10-18 00:24 | 16.4 | Pump trip [MOM] | 105317 |  | 2007-10-18 00:24 | 2007-10-18 01:32 | 1.1333 | 1.1333 | MOM | MOM | MOM | Store Lost |  | 1 |  |  | 1
8 | 2007-10-18 01:32 | 2007-10-22 08:00 | 102.4667 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 118.8667 | [5 empty] | 1.1333 | 1.1333 | [8 empty] | 0
9 | 2007-10-24 08:00 | 2007-10-24 09:14 | 1.2333 | RF4 Ion Gauge trip [RF] | 105318 |  | 2007-10-24 09:14 | 2007-10-24 09:31 | 0.28333 | 0.28333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
10 | 2007-10-24 09:31 | 2007-10-24 21:18 | 11.7833 | RTFB Heartbeat Err [CTL] | 105319 |  | 2007-10-24 21:18 | 2007-10-24 22:00 | 0.7 | 0.7 | CTL | CTL | CTL | Store Lost |  | 1 |  |  | 1
11 | 2007-10-24 22:00 | 2007-10-25 14:29 | 16.4833 | RF S40 Cav. Vacuum [RF] | 105320 |  | 2007-10-25 14:29 | 2007-10-25 14:43 | 0.23333 | 0.23333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
12 | 2007-10-25 14:43 | 2007-10-30 08:00 | 113.2833 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 142.7833 | [5 empty] | 1.2167 | 1.2167 | [8 empty] | 0
13 | 2007-10-31 08:00 | 2007-11-06 08:00 | 145 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 145 | [5 empty] | 0 | 0 | [8 empty] | 0
14 | 2007-11-07 08:00 | 2007-11-12 08:00 | 120 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 120 | [5 empty] | 0 | 0 | [8 empty] | 0
|  |  | 0 | Beam loss at Inj. [DIAG] | 105324 |  | 2007-11-14 08:00 | 2007-11-14 08:48 | 0.8 | 0.8 | DIA | DIA | DIA | Inhibits beam to user |  |  |  | 1 | 1
16 | 2007-11-14 08:48 | 2007-11-20 02:01 | 137.2167 | S7B:P0 BPM glitch [DIAG] | 105325 |  | 2007-11-20 02:01 | 2007-11-20 02:21 | 0.33333 | 0.33333 | DIA | DIA | DIA | Store Lost |  | 1 |  |  | 1
17 | 2007-11-20 02:21 | 2007-11-20 09:56 | 7.5833 | Human Error [MOM] | 105326 |  | 2007-11-20 09:56 | 2007-11-20 10:20 | 0.4 | 0.4 | MOM | MOM | MOM | Store Lost |  | 1 |  |  | 1
18 | 2007-11-20 10:20 | 2007-11-20 14:32 | 4.2 | Beam loss at Inj. [DIAG] | 105327 |  | 2007-11-20 14:32 | 2007-11-20 14:51 | 0.31667 | 0.31667 | DIA | DIA | DIA | Store Lost |  | 1 |  |  | 1
19 | 2007-11-20 14:51 | 2007-11-20 22:34 | 7.7167 | Beam lost at Inj. [OA] |  |  | 2007-11-20 22:34 | 2007-11-21 04:26 | 5.8667 | [9 empty] | 0
[5 empty] | 105328- |  | 2007-11-20 22:34 | 2007-11-21 04:05 |  | 5.5167 | OA | OA | OA | Store Lost |  | 1 |  |  | 1
[5 empty] | 105334 |  | 2007-11-21 04:05 | 2007-11-21 04:26 |  | 0.35 | RF | RF | RF | Inhibits beam to user |  |  |  | 1 | 1
24 | 2007-11-21 04:26 | 2007-11-21 09:25 | 4.9833 | Beam lost at inj. [DIAG] | 105335 |  | 2007-11-21 09:25 | 2007-11-21 09:44 | 0.31667 | 0.31667 | DIA | DIA | DIA | Store Lost |  | 1 |  |  | 1
25 | 2007-11-21 09:44 | 2007-11-22 | 14.2667 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 175.9667 | [5 empty] | 8.0333 | 8.0333 | [8 empty] | 0
26 | 2007-11-23 08:00 | 2007-11-25 17:35 | 57.5833 | RF HV trip [RF] | 105336 |  | 2007-11-25 17:35 | 2007-11-25 17:56 | 0.35 | 0.35 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
27 | 2007-11-25 17:56 | 2007-11-27 08:00 | 38.0667 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 95.65 | [5 empty] | 0.35 | 0.35 | [8 empty] | 0
28 | 2007-11-28 08:00 | 2007-12-04 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 144 | [5 empty] | 0 | 0 | [8 empty] | 0
29 | 2007-12-05 08:00 | 2007-12-11 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 144 | [5 empty] | 0 | 0 | [8 empty] | 0
30 | 2007-12-12 08:00 | 2007-12-17 07:45 | 119.75 | Beam loss at Inj. [DIAG] | 105345 |  | 2007-12-17 07:45 | 2007-12-17 08:50 | 1.0833 | [9 empty] | 0
[7 empty] | 2007-12-17 07:45 | 2007-12-17 08:10 |  | 0.41667 | DIA | DIA | DIA | Store Lost |  | 1 |  |  | 1
[7 empty] | 2007-12-17 08:10 | 2007-12-17 08:20 |  | 0.16667 | RF | RF | RF | Inhibits beam to user | Linac RF issues |  |  | 1 | 1
[7 empty] | 2007-12-17 08:20 | 2007-12-17 08:50 |  | 0.5 | OA | OA | OA | Inhibits beam to user |  |  |  | 1 | 1
31 | 2007-12-17 08:50 | 2007-12-19 08:00 | 47.1667 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 166.9167 | [5 empty] | 1.0833 | 1.0833 | [8 empty] | 0
|  | Number of Lost Fills | 15 | [5 empty] | Downtime
|  | Number of Intentional Dumps | 11 | [5 empty] | User | System
|  | Number of Fills | 26 | [5 empty] | 13.9 | 13.9 | [5 empty] | 15 | 11 | 4 | 30
[16 empty] | SL | Scheduled | Inhibits
|  | Total User Beam | 1563.1 | 65.1292 | User Beam days
|  | Total User Downtime | 13.9 | <-- This downtime includes Gaps Open
|  | Total Schedule Run Length | 1577
26
|  | Mean Time Between Faults | 104.2067
|  | Faults/Day of Delivered Beam | 0.23031 | [13 empty] | #REF!
|  | X-ray Availability | 99.12% | [13 empty] | #REF!
2

## Stats
Group
Data | CTL | PS | RF | MOM | DIA | OA | Grand Total
Sum of Inhibits Beam | 0 | 0 | 2 | 0 | 1 | 1 | 4
Sum of Intention. Dump | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum of Store Lost | 1 | 2 | 4 | 2 | 4 | 2 | 15
Sum of System Length | 0.7 | 1.3167 | 1.7 | 1.5333 | 2.1833 | 6.4667 | 13.9
| RF | Diag | PS | Controls | Accelerator Intlks | Beamline Intlks | Radiation Intlks | Water/ME | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Network | Unidentified | Grand Total | Total Hours
Hours for Run | 1.7 | 2.1833 | 1.3167 | 0.7 |  |  |  | 1.5333 | 6.4667 | [8 empty] | 13.9
Run 2007-3 | 0.1078% | 0.1384% | 0.08349% | 0.04439% |  | 0% |  | 0.09723% | 0.4101% | [8 empty] | 0.8814%
Budget | 0.54% | 0.12% | 0.54% | 0.3% | 0.06% | 0.06% | 0.06% | 0.36% | 0.12% | 0% | 0.06% | 0.06% | 0.18% | 0.06% | 0.18% | 0.12% | 0.06% | 3%
Faults | 4 | 4 | 2 | 1 |  |  |  | 2 | 2 | [8 empty] | 15
| RF | Diag | PS | Controls | Accelerator Intlks | Beamline Intlks | Radiation Intlks | MOM | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Network | Unidentified
Run 2007-3 | 0.061416 | 0.061416 | 0.030708 | 0.015354 | 0 | 0 | 0 |  | 0.030708 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0.23031
Budget | 0.12 | 0.03 | 0.12 | 0.05 | 0.01 | 0.01 | 0.02 | 0.06 | 0.02 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.53
Total User Beam | 1563.1
Total Schedule Run Length | 1577