## Main Data
Default Storage Ring Refill Time |  |  | 0.25 | [16 empty] | Refill Timing in Days | 0.010417
Downtime for Run 2014-1
Fill # | Start | End | Length | Loss Reason | DIN # | Audit | Start | End | User Length | System Length | Cause | System | Group | Type | Description | Store Lost | Intention. Dump | Inhibits Beam | TOTAL
1 | 2014-01-28 08:00 | 2014-01-28 18:21 | 10.35 | Human error[DIAG] | 106112 |  | 2014-01-28 18:21 | 2014-01-28 19:01 | 0.66667 | 0.66667 | DIA | DIA | DIA | Store Lost |  | 1 |  |  | 1
2 | 2014-01-28 19:01 | 2014-01-29 10:44 | 15.7167 | MPS VV fault [MOM] | 106113 |  | 2014-01-29 10:44 | 2014-01-29 11:14 | 0.5 | 0.5 | MOM | MOM | MOM | Store Lost |  | 1 |  |  | 1
3 | 2014-01-29 11:14 | 2014-01-29 18:56 | 7.7 | Under Investigation | 106114 |  | 2014-01-29 18:56 | 2014-01-29 19:22 | 0.43333 | 0.43333 | UNK | UNK | UNK | Store Lost |  | 1 |  |  | 1
4 | 2014-01-29 19:22 | 2014-01-30 11:49 | 16.45 | 13-ID PSS trip[OTH] | 106116 |  | 2014-01-30 11:49 | 2014-01-30 12:38 | 0.81667 | 0.81667 | OTH | BL | BL | Store Lost |  | 1 |  |  | 1
5 | 2014-01-30 12:38 | 2014-02-04 08:00 | 115.3667 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 165.5833 | [5 empty] | 2.4167 | 2.4167 | [8 empty] | 0
6 | 2014-02-05 08:00 | 2014-02-11 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 144 | [15 empty] | 0
7 | 2014-02-12 08:00 | 2014-02-12 22:49 | 14.8167 | S3A:S2 failure [PS] | 106121 |  | 2014-02-12 22:49 | 2014-02-13 00:39 | 1.8333 | 1.8333 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
8 | 2014-02-13 00:39 | 2014-02-13 13:49 | 13.1667 | S5A:V3 glitches [PS] | 106124 |  | 2014-02-13 13:49 | 2014-02-13 19:24 | 5.5833 | 5.5833 | PS | PS | PS | Store Lost | 2 more dumps, investigation, punch down, refill | 1 |  |  | 1
11 | 2014-02-13 19:24 | 2014-02-18 08:00 | 108.6 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 136.5833 | [5 empty] | 7.4167 | 7.4167 | [8 empty] | 0
|  |  | 0 |  |  |  | 2014-02-19 08:00 | 2014-02-19 09:29 | 1.4833 | 1.4833 | DIA | DIA | DIA | Inhibits beam to User | P1 BPM offset change, pending BPLD[Diag] user fill <1 hr |  |  | 1 | 1
12 | 2014-02-19 09:29 | 2014-02-20 21:20 | 35.85 | RF4 coll. intlk [RF] |  |  | 2014-02-20 21:20 | 2014-02-20 21:55 | 0.58333 | 0.58333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
13 | 2014-02-20 21:55 | 2014-02-24 08:00 | 82.0833 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 117.9333 | [5 empty] | 2.0667 | 2.0667 | [8 empty] | 0
|  |  | 0 |  |  |  | 2014-02-26 08:00 | 2014-02-26 09:33 | 1.55 | 1.55 | HP | HP | HP | Inhibits beam to user | user fill <1 hr Spurious Rad Mon. Trip, investigation [HP] |  |  | 1 | 1
15 | 2014-02-26 09:33 | 2014-02-26 11:15 | 1.7 | RF3 crowbar [RF] | 106132 |  | 2014-02-26 11:15 | 2014-02-26 11:52 | 0.61667 | 0.61667 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
16 | 2014-02-26 11:52 | 2014-02-26 15:41 | 3.8167 | RF3 crowbar [RF] | 106134 |  | 2014-02-26 15:41 | 2014-02-26 16:46 | 1.0833 | 1.0833 | RF | RF | RF | Store Lost | Waveguide switch, recover systems, refill | 1 |  |  | 1
17 | 2014-02-26 16:46 | 2014-02-27 02:38 | 9.8667 | S33A:Q3 P.S. trip[PS] | 106135 |  | 2014-02-27 02:38 | 2014-02-27 03:49 | 1.1833 | 1.1833 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
18 | 2014-02-27 03:49 | 2014-03-04 08:00 | 124.1833 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 139.5667 | [5 empty] | 4.4333 | 4.4333 | [8 empty] | 0
19 | 2014-03-05 08:00 | 2014-03-11 08:00 | 143 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 143 | [15 empty] | 0
20 | 2014-03-12 08:00 | 2014-03-18 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 144 | [15 empty] | 0
21 | 2014-03-19 08:00 | 2014-03-24 08:00 | 120 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 120 | [15 empty] | 0
22 | 2014-03-26 08:00 | 2014-04-01 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 144 | [15 empty] | 0
23 | 2014-04-02 08:00 | 2014-04-08 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 144 | [15 empty] | 0
24 | 2014-04-09 08:00 | 2014-04-14 03:10 | 115.1667 | Bldg450 brkr trip[FMS] | 106150 |  | 2014-04-14 03:10 | 2014-04-14 09:09 | 5.9833 | 5.9833 | FMS | FMS | FMS | Store Lost |  | 1 |  |  | 1
25 | 2014-04-14 09:09 | 2014-04-15 08:00 | 22.85 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 138.0167 | [5 empty] | 5.9833 | 5.9833 | [8 empty] | 0
26 | 2014-04-16 08:00 | 2014-04-21 08:00 | 120 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 120 | [15 empty] | 0
|  | Number of Lost Fills | 11 | [5 empty] | Downtime
|  | Number of Intentional Dumps | 12 | [5 empty] | User | System
|  | Number of Fills | 23 | [5 empty] | 22.3167 | 22.3167 | [5 empty] | 11 | 12 | 2 | 25
[17 empty] | Scheduled | Inhibits
|  | Total User Beam | 1656.6833 | 69.0285 | User Beam days
|  | Total User Downtime | 22.3167 | <-- This downtime includes Gaps Open
|  | Total Schedule Run Length | 1679
23
|  | Mean Time Between Faults | 150.6076
|  | Faults/Day of Delivered Beam | 0.15935 | [13 empty] | #N/A
|  | X-ray Availability | 98.67% | [13 empty] | #N/A
13

## Stats
Group
Data | PS | RF | UNK | DIA | MOM | BL | HP | FMS | Grand Total
Sum - Inhibits Beam | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 2
Sum - Store Lost | 3 | 3 | 1 | 1 | 1 | 1 | 0 | 1 | 11
Sum of System Length | 8.6 | 2.2833 | 0.43333 | 2.15 | 0.5 | 0.81667 | 1.55 | 5.9833 | 22.3167
| RF | Diag | PS | Controls | Accelerator Intlks | Beamline Intlks | Radiation Intlks | Water/ME | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Network | Unidentified | Grand Total | Total Hours
Run 2014-1 | 0.136% | 0.1281% | 0.5122% |  |  | 0% | 0.09232% | 0.02978% | [5 empty] | 0.3564% | 0.04864% |  | 0.02581% | 1.329%
Budget | 0.54% | 0.12% | 0.54% | 0.3% | 0.28% | 0.28% | 0.28% | 0.36% | 0.12% | 0% | 0.06% | 0.06% | 0.18% | 0.06% | 0.18% | 0.12% | 0.06% | 3%
Hours for Run | 2.2833 | 2.15 | 8.6 |  |  |  | 1.55 | 0.5 | [5 empty] | 5.9833 | 0.81667 |  | 0.43333 | 22.3167
Faults | 3 | 1 | 3 |  |  |  | 0 | 1 | [5 empty] | 1 | 1 |  | 1 | 11
| RF | Diag | PS | Controls | Accelerator Intlks | Beamline Intlks | Radiation Intlks | MOM | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Network | Unidentified
Run 2014-1 | 0.04346 | 0.014487 | 0.04346 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0.014487 | 0.014487 | 0 | 0.014487 | 0.15935
Budget | 0.12 | 0.03 | 0.12 | 0.05 | 0.035 | 0.035 | 0.035 | 0.06 | 0.02 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.595
Total User Beam | Group PS: 1656.6833
Total Schedule Run Length | Group PS: 1679
Filter
Cause
Type | Data | PS | RF | AOP | UNK | FMS | OTH | Grand Total
Store Lost | Sum - Store Lost | 1 | 2 |  | 1 | 1 | 1 | 6
| Sum - Inhibits Beam | 0 | 0 |  | 0 | 0 | 0 | 0
Inhibits beam to user | Group PS: Sum - Store Lost; Group DIA: 0; Group FMS: 0
| Sum - Inhibits Beam |  |  | 1 |  |  |  | 1
Total Sum - Store Lost |  | 1 | 2 | 0 | 1 | 1 | 1 | 6
Total Sum - Inhibits Beam |  | 0 | 0 | 1 | 0 | 0 | 0 | 1