## Main Data
Default Storage Ring Refill Time |  |  | 0.25 | [16 empty] | Refill Timing in Days | 0.010417
Downtime for Run 2017-3
Fill # | Start | End | Length | Loss Reason | DIN # | Audit | Start | End | User Length | System Length | Cause | System | Group | Type | Description | Store Lost | Intention. Dump | Inhibits Beam | TOTAL
1 | 2017-10-03 08:00 | 2017-10-03 21:44 | 13.7333 | 30B:Q5 p.s. fault[PS] | 106703 |  | 2017-10-03 21:44 | 2017-10-04 00:10 | 2.4333 | 2.4333 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
2 | 2017-10-04 00:10 | 2017-10-09 08:00 | 127.8333 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 141.5667 | [5 empty] | 2.4333 | 2.4333 | [8 empty] | 0
3 | 2017-10-10 08:00 | 2017-10-14 14:59 | 102.9833 | 2ID EPS faults[SI] | 106706 |  | 2017-10-14 14:59 | 2017-10-14 15:28 | 0.48333 | 0.48333 | SI | SI | SI | Store Lost |  | 1 |  |  | 1
4 | 2017-10-14 15:28 | 2017-10-15 06:37 | 15.15 | 2ID EPS faults[SI] | 106707 |  | 2017-10-15 06:37 | 2017-10-15 10:34 | 3.95 | 3.95 | SI | SI | SI | Store Lost | Replaced 24V ps for EPS chassis | 1 |  |  | 1
5 | 2017-10-15 10:34 | 2017-10-15 12:03 | 1.4833 | 1B:H3 p.s. glitch [PS] | 106708 |  | 2017-10-15 12:03 | 2017-10-15 15:06 | 3.05 | [5 empty] | Investigation [PS-1.6hr], Abs.flow trip[MOM-1.46hr] |  |  |  | 0
[7 empty] | 2017-10-15 12:03 | 2017-10-15 13:39 |  | 1.6 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
[7 empty] | 2017-10-15 13:39 | 2017-10-15 15:06 |  | 1.45 | MOM | MOM | MOM | Inhibits Beam to User |  |  |  | 1 | 1
6 | 2017-10-15 15:06 | 2017-10-16 08:00 | 16.9 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 136.5167 | [5 empty] | 7.4833 | 7.4833 | [8 empty] | 0
7 | 2017-10-17 08:00 | 2017-10-23 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 144 | [5 empty] | 0 | 0 | [8 empty] | 0
8 | 2017-10-24 08:00 | 2017-10-25 10:01 | 26.0167 | APS power event[OTH] | 106711 |  | 2017-10-25 10:01 | 2017-10-25 10:33 | 0.53333 | 0.53333 | FMS | FMS | FMS | Store Lost |  | 1 |  |  | 1
9 | 2017-10-25 10:33 | 2017-10-25 14:53 | 4.3333 | APS power event[OTH] | 106712 |  | 2017-10-25 14:53 | 2017-10-25 15:26 | 0.55 | 0.55 | FMS | FMS | FMS | Store Lost |  | 1 |  |  | 1
10 | 2017-10-25 15:26 | 2017-10-30 08:00 | 112.5667 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 142.9167 | [5 empty] | 1.0833 | 1.0833 | [8 empty] | 0
11 | 2017-11-01 08:00 | 2017-11-01 17:29 | 9.4833 | Unknwn vert. motion[UNK] | 106718 |  | 2017-11-01 17:29 | 2017-11-01 18:17 | 0.8 | 0.8 | UNK | UNK | UNK | Store Lost |  | 1 |  |  | 1
12 | 2017-11-01 18:17 | 2017-11-05 08:38 | 87.35 | Com-Ed Power event[OTH] | 106719 |  | 2017-11-05 08:38 | 2017-11-05 09:34 | 0.93333 | 0.93333 | COMED | COMED | COMED | Store Lost |  | 1 |  |  | 1
13 | 2017-11-05 09:34 | 2017-11-05 20:26 | 10.8667 | Unknwn vert. motion[UNK] | 106720 |  | 2017-11-05 20:26 | 2017-11-05 21:20 | 0.9 | 0.9 | UNK | UNK | UNK | Store Lost |  | 1 |  |  | 1
14 | 2017-11-05 21:20 | 2017-11-06 08:00 | 10.6667 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 118.3667 | [5 empty] | 2.6333 | 2.6333 | [8 empty] | 0
15 | 2017-11-07 08:00 | 2017-11-09 14:29 | 54.4833 | 9BM PS2 water leak [MOM] | 106721 |  | 2017-11-09 14:29 | 2017-11-09 18:53 | 4.4 | 4.4 | MOM | MOM | MOM | Store Lost |  | 1 |  |  | 1
16 | 2017-11-09 18:53 | 2017-11-13 08:00 | 85.1167 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 139.6 | [5 empty] | 4.4 | 4.4 | [8 empty] | 0
17 | 2017-11-14 08:00 | 2017-11-22 08:00 | 192 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 192 | [5 empty] | 0 | 0 | [8 empty] | 0
18 | 2017-11-24 08:00 | 2017-11-26 09:21 | 49.35 | S29 ID DBPLD DS [DIA] | 106729 |  | 2017-11-26 09:21 | 2017-11-26 09:54 | 0.55 | 0.55 | DIA | DIA | DIA | Store Lost |  | 1 |  |  | 1
19 | 2017-11-26 09:54 | 2017-12-02 11:22 | 145.4667 | RF-3 Anod O/I | 106732 |  | 2017-12-02 11:22 | 2017-12-02 11:50 | 0.46667 | 0.46667 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
20 | 2017-12-02 11:50 | 2017-12-04 08:00 | 44.1667 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 238.9833 | [5 empty] | 1.0167 | 1.0167 | [8 empty] | 0
21 | 2017-12-05 08:00 | 2017-12-11 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 144 | [5 empty] | 0 | 0 | [8 empty] | 0
22 | 2017-12-12 08:00 | 2017-12-12 12:00 | 4 | SRRF3 anode I trip[RF] | 106735 |  | 2017-12-12 12:00 | 2017-12-12 13:27 | 1.45 | 1.45 | RF | RF | RF | Store Lost | Waveguide switch | 1 |  |  | 1
23 | 2017-12-12 13:27 | 2017-12-12 19:42 | 6.25 | RTFB reboot [AOP] | 106736 |  | 2017-12-12 19:42 | 2017-12-12 20:13 | 0.51667 | 0.51667 | AOP | AOP | AOP | Store Lost |  | 1 |  |  | 1
24 | 2017-12-12 20:13 | 2017-12-18 | 123.7833 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 134.0333 | [5 empty] | 1.9667 | 1.9667 | [8 empty] | 0
|  | Number of Lost Fills | 14 | [5 empty] | Downtime
|  | Number of Intentional Dumps | 10 | [5 empty] | User | System
|  | Number of Fills | 24 | [5 empty] | 21.0167 | 21.0167 | [5 empty] | 14 | 10 | 1 | 25
[16 empty] | SL | Scheduled | Inhibits
|  | Total User Beam | 1531.9833 | 63.8326 | User Beam days
|  | Total User Downtime | 21.0167 | <-- This downtime includes Gaps Open
|  | Total Schedule Run Length | 1553 | [12 empty] | #REF!
24
|  | Mean Time Between Faults | 109.4274
|  | Faults/Day of Delivered Beam | 0.21932 | [13 empty] | #N/A
|  | X-ray Availability | 98.65% | [13 empty] | #N/A
2

## Stats
Group
Data | PS | RF | AOP | SI | FMS | DIA | COMED | MOM | UNK | Grand Total
Sum - Inhibits Beam | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
Sum - Store Lost | 2 | 2 | 1 | 2 | 2 | 1 | 1 | 1 | 2 | 14
Sum of System Length | 4.0333 | 1.9167 | 0.51667 | 4.4333 | 1.0833 | 0.55 | 0.93333 | 5.85 | 1.7 | 21.0167
| RF | Diag | PS | Controls | Accelerator Intlks | Radiation Intlks | Water/ME | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Network | Unidentified | Grand Total | Total Hours
Run 2017-3 | 0.1234% | 0.03542% | 0.2597% |  | 0.2855% |  | 0.3767% | 0.03327% |  |  | 0.06976% | 0.0601% |  |  |  | 0.1095% | 1.353%
Budget | 0.54% | 0.12% | 0.54% | 0.3% | 0.28% | 0.28% | 0.36% | 0.12% | 0% | 0.06% | 0.06% | 0.06% | 0.06% | 0.18% | 0.12% | 0.06% | 3.14%
Hours for Run | 1.9167 | 0.55 | 4.0333 |  | 4.4333 |  | 5.85 | 0.51667 |  |  | 1.0833 | 0.93333 |  |  |  | 1.7 | 21.0167
Faults | 2 | 1 | 2 |  | 2 |  | 1 | 1 |  |  | 2 | 1 |  |  |  | 2 | 14
| RF | Diag | PS | Controls | Accelerator Intlks | Radiation Intlks | MOM | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Network | Unidentified
Run 2017-3 | 0.031332 | 0.015666 | 0.031332 | 0 | 0.031332 | 0 | 0.015666 | 0.015666 | 0 | 0 | 0.031332 | 0.015666 | 0 | #REF! | 0 | 0.031332 | 0.21932
Budget | 0.12 | 0.03 | 0.12 | 0.05 | 0.035 | 0.02 | 0.06 | 0.02 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.545
Total User Beam | 1531.9833
Total Schedule Run Length | 1553
Filter
Cause
Type | Data | PS | RF | SI | DIA | MOM | FMS | UNK | COMED | AOP | Grand Total
Store Lost | Sum - Store Lost | 2 | 2 | 2 | 1 | 1 | 2 | 2 | 1 | 1 | 14
| Sum - Inhibits Beam | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inhibits Beam to User | Sum - Store Lost |  |  |  |  | 0 |  |  |  |  | 0
| Sum - Inhibits Beam |  |  |  |  | 1 |  |  |  |  | 1
Total Sum - Store Lost |  | 2 | 2 | 2 | 1 | 1 | 2 | 2 | 1 | 1 | 14
Total Sum - Inhibits Beam |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1