## Main Data
Default Storage Ring Refill Time |  |  | 0.25 | [16 empty] | Refill Timing in Days | 0.010417
Downtime for Run 2025-2
Fill # | Start | End | Length | Loss Reason | DIN # | Audit | Start | End | User Length | System Length | Cause | System | Group | Type | Description | Store Lost | Intention. Dump | Inhibits Beam | TOTAL
1 | 2025-06-03 08:00 | 2025-06-08 06:54 | 118.9 | RF-2 trip [RF] |  |  | 2025-06-08 06:54 | 2025-06-08 07:49 | 0.91667 | 0.91667 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
2 | 2025-06-08 07:49 | 2025-06-09 08:00 | 24.1833 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 143.0833 | [5 empty] | 0.91667 | 0.91667 | [8 empty] | 0
3 | 2025-06-10 08:00 | 2025-06-12 15:42 | 55.7 | Power event [FAC] |  |  | 2025-06-12 15:42 | 2025-06-12 17:23 | 1.6833 | 1.6833 | FAC | FAC | FAC | Store Lost |  | 1 |  |  | 1
4 | 2025-06-12 17:23 | 2025-06-16 05:22 | 83.9833 | S29 BPLD trip [UNK] |  |  | 2025-06-16 05:22 | 2025-06-16 05:39 | 0.28333 | 0.28333 | UNK | UNK | UNK | Store Lost |  | 1 |  |  | 1
5 | 2025-06-16 05:39 | 2025-06-16 08:00 | 2.35 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 142.0333 | [5 empty] | 1.9667 | 1.9667 | [8 empty] | 0
6 | 2025-06-18 08:00 | 2025-06-18 13:43 | 5.7167 | Lightning strike [OTH] |  |  | 2025-06-18 13:43 | 2025-06-18 14:54 | 1.1833 | 1.1833 | OTH | OTH | OTH | Store Lost |  | 1 |  |  | 1
7 | 2025-06-18 14:54 | 2025-06-22 21:46 | 102.8667 | RF-4 trip [RF] |  |  | 2025-06-22 21:46 | 2025-06-23 00:57 | 3.1833 | 3.1833 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
8 | 2025-06-23 00:57 | 2025-06-23 04:13 | 3.2667 | RF-4 trip [RF] |  |  | 2025-06-23 04:13 | 2025-06-23 04:47 | 0.56667 | 0.56667 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
9 | 2025-06-23 04:47 | 2025-06-23 06:02 | 1.25 | RF-4 trip [RF] |  |  | 2025-06-23 06:02 | 2025-06-23 08:00 | 1.9667 | 1.9667 | RF | RF | RF | Store Lost | Waveguide switch and repairs | 1 |  |  | 1
|  |  | 113.1 | [5 empty] | 6.9 | 6.9 | [8 empty] | 0
11 | 2025-06-24 08:00 | 2025-06-27 08:54 | 72.9 | S29 BPLD trip [UNK] |  |  | 2025-06-27 08:54 | 2025-06-27 09:11 | 0.28333 | 0.28333 | UNK | UNK | UNK | Store Lost |  | 1 |  |  | 1
12 | 2025-06-27 09:11 | 2025-06-27 18:12 | 9.0167 | Failed 1ID RM [HP] |  |  | 2025-06-27 18:12 | 2025-06-27 18:27 | 0.25 | 0.25 | HP | HP | HP | Store Lost |  | 1 |  |  | 1
13 | 2025-06-27 18:27 | 2025-06-29 05:37 | 35.1667 | Unable to reset HMI[SI] |  |  | 2025-06-29 05:37 | 2025-06-29 05:58 | 0.35 | 0.35 | SI | SI | SI | Store Lost |  | 1 |  |  | 1
14 | 2025-06-29 05:58 | 2025-07-03 19:27 | 109.4833 | RF-1 trip [RF] |  |  | 2025-07-03 19:27 | 2025-07-03 19:45 | 0.3 | 0.3 | CTL | CTL | CTL | Store Lost |  | 1 |  |  | 1
15 | 2025-07-03 19:45 | 2025-07-04 | 4.25 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 230.8167 | [5 empty] | 1.1833 | 1.1833 | [8 empty] | 0
16 | 2025-07-08 08:00 | 2025-07-09 14:45 | 30.75 | 16BM PSS [OTH] |  |  | 2025-07-09 14:45 | 2025-07-09 16:20 | 1.5833 | 1.5833 | USR | USR | USR | Store Lost |  | 1 |  |  | 1
17 | 2025-07-09 16:20 | 2025-07-10 13:27 | 21.1167 | RF-3 trip [RF] |  |  | 2025-07-10 13:27 | 2025-07-10 14:02 | 0.58333 | 0.58333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
18 | 2025-07-10 14:02 | 2025-07-10 15:59 | 1.95 | RF-3 trip [RF] |  |  | 2025-07-10 15:59 | 2025-07-10 16:44 | 0.75 | 0.75 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
19 | 2025-07-10 16:44 | 2025-07-14 08:00 | 87.2667 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 141.0833 | [5 empty] | 2.9167 | 2.9167 | [8 empty] | 0
20 | 2025-07-15 08:00 | 2025-07-20 10:10 | 122.1667 | Power Event [ComEd] |  |  | 2025-07-20 10:10 | 2025-07-20 11:35 | 1.4167 | 1.4167 | COMED | COMED | COMED | Store Lost |  | 1 |  |  | 1
21 | 2025-07-20 11:35 | 2025-07-21 08:00 | 20.4167 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 142.5833 | [5 empty] | 1.4167 | 1.4167 | [8 empty] | 0
22 | 2025-07-23 08:00 | 2025-07-28 08:00 | 120 | Int Dump: End of Period |  |  |  |  | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  |  | 120 | [5 empty] | 0 | 0 | [8 empty] | 0
23 | 2025-07-29 08:00 | 2025-07-31 19:25 | 59.4167 | 1ID RM failure [HP] |  |  | 2025-07-31 19:25 | 2025-07-31 19:37 | 0.2 | 0.2 | HP | HP | HP | Store Lost |  | 1 |  |  | 1
24 | 2025-07-31 19:37 | 2025-08-01 01:38 | 6.0167 | 1ID RM failure [HP] |  |  | 2025-08-01 01:38 | 2025-08-01 01:52 | 0.23333 | 0.23333 | HP | HP | HP | Store Lost |  | 1 |  |  | 1
25 | 2025-08-01 01:52 | 2025-08-02 00:11 | 22.3167 | 1ID RM failure [HP] |  |  | 2025-08-02 00:11 | 2025-08-02 01:00 | 0.81667 | 0.81667 | HP | HP | HP | Store Lost |  | 1 |  |  | 1
27 | 2025-08-02 01:00 | 2025-08-02 02:08 | 1.1333 | 1ID RM failure [HP] |  |  | 2025-08-02 02:08 | 2025-08-02 02:56 | 0.8 | 0.8 | HP | HP | HP | Store Lost |  | 1 |  |  | 1
29 | 2025-08-02 02:56 | 2025-08-02 04:36 | 1.6667 | 1ID RM failure [HP] |  |  | 2025-08-02 04:36 | 2025-08-02 05:40 | 1.0667 | 1.0667 | HP | HP | HP | Store Lost |  | 1 |  |  | 1
31 | 2025-08-02 05:40 | 2025-08-02 08:13 | 2.55 | 1ID RM failure [HP] |  |  | 2025-08-02 08:13 | 2025-08-02 10:27 | 2.2333 | 2.2333 | HP | HP | HP | Store Lost |  | 1 |  |  | 1
32 | 2025-08-02 10:27 | 2025-08-03 20:03 | 33.6 | PAR RF fail [RF] |  |  | 2025-08-03 20:03 | 2025-08-03 20:47 | 0.73333 | 0.73333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
33 | 2025-08-03 20:47 | 2025-08-06 | 51.2167 | [5 empty] | 0 | 0 |  |  |  | Scheduled |  |  | 1 |  | 1
|  | . | 177.9167 | [5 empty] | 6.0833 | 6.0833 | [8 empty] | 0
|  | Number of Lost Fills | 22 | [5 empty] | Downtime
|  | Number of Intentional Dumps | 7 | [5 empty] | User | System
|  | Number of Fills | 29 | [5 empty] | 21.3833 | 21.3833 | [5 empty] | 22 | 7 | 0 | 29
[16 empty] | SL | Scheduled | Inhibits
|  | Total User Beam | 1210.6167 | 50.4424 | User Beam days
|  | Total User Downtime | 21.3833 | <-- This downtime includes Gaps Open
|  | Total Schedule Run Length | 1232 | [12 empty] | #REF!
29
|  | Mean Time Between Faults | 55.028
|  | Faults/Day of Delivered Beam | 0.43614 | [13 empty] | #N/A
|  | X-ray Availability | 98.26% | [13 empty] | #N/A
9

## Stats
Group
Data | RF | HP | UNK | CTL | OTH | USR | SI | FAC | COMED | Grand Total
Sum - Inhibits Beam | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum - Store Lost | 7 | 7 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 22
Sum of System Length | 8.7 | 5.6 | 0.56667 | 0.3 | 1.1833 | 1.5833 | 0.35 | 1.6833 | 1.4167 | 21.3833
| RF | Diag | PS | Controls | Accelerator Intlks | Radiation Intlks | Water/ME | VAC | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | User | Unidentified | Grand Total | Total Hours
Run 2025-2 | 0.7062% | #REF! | #REF! | 0.02435% | 0.02841% | 0.4545% | #REF! |  | #REF! | #REF! | #REF! | 0.1366% |  |  | 0.09605% | 0.1285% | 0.046% | #REF!
Hours for Run | 8.7 | #REF! | #REF! | 0.3 | 0.35 | 5.6 | #REF! |  | #REF! | #REF! | #REF! | 1.6833 |  |  | 1.1833 | 1.5833 | 0.56667 | #REF!
Faults | 7 | #REF! | #REF! | 1 | 1 | 7 | #REF! |  | #REF! | #REF! | #REF! | 1 |  |  | 1 | 1 | 2 | #REF!
| RF | Diag | PS | Controls | Accelerator Intlks | Radiation Intlks | MOM | Operations | Physics | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Network | Unidentified
Run 2025-2 | 0.13877 | #REF! | #REF! | 0.019825 | 0.019825 | 0.13877 | #REF! | #REF! | #REF! | #REF! | 0.019825 | 0 | 0 | 0.019825 | 0.019825 | 0.039649 | #REF!
Total User Beam | Group RF: 1210.6167
Total Schedule Run Length | Group RF: 1232
Filter
Cause
Type | Data | RF | HP | UNK | AOP | CTL | PS | MCR | OTH | USR | MOM | SI | FAC | DIA | Grand Total
Inhibits Beam to User | Sum - Store Lost | Cause RF: 0; Cause CTL: 0 | 0
| Sum - Inhibits Beam | Cause RF: 2; Cause CTL: 1 | 3
Store Lost | Sum - Store Lost | 8 | 2 | 2 | 2 | 11 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 40
| Sum - Inhibits Beam | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Scheduled | Sum - Store Lost | Cause CTL: 0 | 0
| Sum - Inhibits Beam | Cause CTL: 0 | 0
Total Sum - Store Lost |  | 8 | 2 | 2 | 2 | 11 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 40
Total Sum - Inhibits Beam |  | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3